## NOXEQUIP
EIAUTILCD | FACLCD | NOXEQUIPCD | NOXOTH
17254 | 54547 | LN
17445 | 50071 | OA
29959 | 54537 | SW
18804 | 50707 | SW
18804 | 50708 | SW
10103 | 50709 | SW
18801 | 50676 | SW
24636 | 54538 | SW
22669 | 50115 | LN
15986 | 10767 | OA
22843 | 50960 | OA
22843 | 50960 | OT | Activated Carbon Injection
19491 | 50104 | LN
19491 | 50104 | SW
19685 | 50121 | FG
19685 | 50121 | LN
19685 | 50121 | LE
19685 | 50121 | SW
19946 | 50293 | FG
19946 | 50293 | LE
19946 | 50293 | OA
2868 | 50968 | SW
20433 | 50882 | OA
20366 | 54035 | LN
20366 | 54035 | LE
20366 | 54035 | OA
20366 | 54755 | LN
20366 | 54755 | LE
20366 | 54755 | OA
20505 | 50184 | LN
20505 | 50184 | LE
20505 | 50184 | OA
20505 | 50187 | LE
20505 | 50187 | OA
20505 | 50189 | LE
20505 | 50189 | OA
20505 | 50191 | FG
20505 | 50191 | LN
20505 | 50191 | LE
20505 | 50192 | OA
24213 | 54693 | LN
24213 | 54693 | OT | Combuster Design Operational Changes
21130 | 52186 | SW
21444 | 54694 | SW
9434 | 54201 | FB
5310 | 52019 | LN
5310 | 52019 | OT | Ammonia Injection
5310 | 52019 | SW
21773 | 50931 | LN
21773 | 50931 | OA
21773 | 50931 | OT | Fluidized bed combustion
12971 | 10165 | FG
20978 | 54746 | OA
325 | 10298 | SW
16793 | 54634 | FB
325 | 54748 | LN
22269 | 54749 | SW
11455 | 54752 | LN
39240 | 54761 | LN
16011 | 54529 | OA
11066 | 54768 | SW
2956 | 50498 | SW
28316 | 50561 | SW
6829 | 54138 | SW
19172 | 50607 | LN
6564 | 54518 | OT | Dry low NOx combustion on 3rd gas turbine
7 | 10867 | FB
9253 | 50976 | LN
9253 | 50976 | OA
21734 | 50951 | FB
21329 | 50385 | LN
21329 | 50385 | SW
17950 | 10640 | OA
17950 | 10640 | OT | Ammonia Injection
2884 | 10641 | OA
2884 | 10641 | OT | Staged Combustion
14184 | 54466 | LN
7564 | 54785 | FG
7564 | 54785 | LN
10545 | 54423 | SW
21992 | 54365 | LN
12436 | 10328 | NR
12222 | 54802 | FG
12222 | 54802 | LN
12222 | 54802 | LE
12222 | 54802 | OA
12222 | 54802 | SW
12436 | 10328 | OT | Thermal DeNox
12469 | 54805 | SW
43164 | 50846 | OT | Burner Out-of Service Program Low NOx combustion
43164 | 50846 | SW
7168 | 52175 | FG
7168 | 52175 | LN
7168 | 52175 | LE
3858 | 10203 | LN
8303 | 50541 | SW
19216 | 50971 | SW
1041 | 54658 | SW
82 | 10819 | SW
563 | 10151 | LN
958 | 10755 | LN
1569 | 52096 | SW
6807 | 10156 | LN
6807 | 10156 | SW
1653 | 10245 | FG
1653 | 10245 | LE
1735 | 54304 | LN
1735 | 54304 | OA
1762 | 10464 | FG
1762 | 10464 | LE
1762 | 10464 | OA
1928 | 10486 | FG
19857 | 54807 | SW
28473 | 54814 | LN
20726 | 54944 | CR
18593 | 54817 | SW
14410 | 54832 | LN
7402 | 54844 | LN
7402 | 54844 | SW
13398 | 54854 | SW
11741 | 10726 | CR
2313 | 54914 | LN
2313 | 54914 | SW
12455 | 54915 | OT | Dry Low NOx Combusters
12949 | 10743 | FB
20961 | 10836 | NR
20961 | 10836 | FB
5011 | 10840 | NR
5011 | 10840 | FB
19857 | 54807 | CR
18938 | 10143 | NR
18938 | 10143 | FB
8303 | 50541 | CR
14584 | 54056 | CR
11459 | 54268 | CR
16553 | 54271 | CR
11217 | 10091 | CR
24202 | 50978 | CR
27769 | 51030 | CR
6577 | 10360 | FB
27770 | 54324 | CR
34359 | 50969 | LE
14310 | 50397 | FB
4425 | 50658 | NR
4181 | 54945 | NR
11386 | 10823 | LN
13504 | 50271 | NR
42 | 10675 | FB
35 | 10678 | FB
35 | 10678 | NR
745 | 10812 | CR
745 | 10811 | CR
745 | 10810 | CR
2819 | 54001 | CR
11132 | 10043 | CR
5670 | 10603 | FB
11386 | 10823 | FG
11386 | 10823 | SW
14432 | 50776 | FB
14027 | 54627 | NR
9261 | 54076 | CR
9263 | 50458 | CR
15114 | 50002 | CR
6829 | 54034 | CR
16929 | 50290 | NR
154 | 10677 | CR
563 | 10151 | FB
13833 | 50039 | FB
10653 | 54640 | LN
10653 | 54640 | CR
18154 | 50810 | OA
1951 | 10148 | OT | Wet Scrubbers
22269 | 54749 | CR
154 | 10673 | FB
22326 | 50851 | CR
741 | 50855 | CR
3325 | 10566 | CR
1450 | 54456 | FB
3759 | 10621 | CR
16814 | 50974 | FB
15253 | 54592 | CR
2904 | 10751 | CR
23013 | 50888 | NR
3890 | 50006 | CR
16799 | 50062 | CR
21468 | 50497 | CR
8032 | 10373 | CR
8032 | 10373 | FB
8032 | 10373 | FG
5533 | 10776 | CR
39240 | 54761 | CR
3452 | 10213 | CR
7085 | 10111 | FB
15986 | 10767 | NR
15986 | 10767 | FB
16061 | 10768 | NR
16061 | 10768 | FB
16061 | 10768 | OA
20505 | 50188 | LN
20505 | 50188 | FG
16002 | 10769 | NR
16002 | 10769 | FB
16002 | 10769 | OA
42093 | 50662 | NR
9253 | 50976 | CR
22737 | 54586 | CR
7544 | 10822 | NR
2347 | 50152 | LN
19491 | 50104 | CR
42892 | 50886 | NR
16011 | 54529 | NR
772 | 10860 | LN
154 | 10676 | LN
154 | 10676 | LE
16077 | 10772 | NR
16077 | 10772 | FB
16077 | 10772 | OA
1354 | 50748 | CR
38215 | 54451 | CR
542 | 10643 | OA
21621 | 54605 | CR
38658 | 50299 | LE
6529 | 50270 | CR
9621 | 54692 | CR
3305 | 10672 | FB
13543 | 50657 | NR
5050 | 10850 | CR
2868 | 50968 | CR
11820 | 54907 | LN
11820 | 54907 | SW
11820 | 54907 | OT | Dry Low Nox Combustion Technology
12313 | 10837 | NR
12313 | 10837 | FB
7402 | 54844 | CR
6322 | 10511 | LN
15065 | 50884 | OA
15253 | 54592 | SW
15320 | 50148 | SW
15434 | 54425 | LN
15434 | 54425 | SW
15197 | 54426 | OT | Dry Low Nox Combusters
15247 | 54238 | OT | Ammonia injection system
15380 | 50060 | OT | Engines are lean-burn
3884 | 55039 | LN
2232 | 55042 | SW
7564 | 54785 | CR
22312 | 10766 | OT | Circulating Fluidized Bed
25000 | 50024 | NR
38128 | 50119 | LN
991 | 10639 | SW
2226 | 10290 | OA
7804 | 54763 | OA
4217 | 10784 | OT | Fluidized Bed-combustion
5695 | 55077 | LN
5695 | 55077 | CR
12713 | 55079 | CR
12713 | 55079 | OT | Dry Low Nox Combustors, Co Catalyst
12228 | 10491 | LN
3103 | 10729 | OA
3325 | 10566 | LN
3325 | 10566 | LE
3325 | 10566 | OA
19073 | 10190 | LE
19073 | 10190 | SW
3890 | 50006 | SW
3943 | 10380 | OA
3943 | 10381 | OA
3943 | 10382 | OA
3901 | 10071 | OA
4114 | 52087 | SW
21216 | 50815 | SW
18326 | 10438 | LN
18326 | 10438 | LE
18326 | 10438 | SW
4806 | 52026 | SW
172 | 10567 | LN
172 | 10567 | SW
5624 | 10025 | LN
5624 | 10025 | OT | Natural Gas Reburn with overfire air and fgr.
6023 | 50615 | SW
1383 | 50849 | SW
22326 | 50850 | SW
22326 | 50851 | SW
15382 | 50852 | SW
741 | 50855 | SW
6088 | 10690 | LN
6088 | 10690 | SW
7085 | 10111 | LE
7301 | 54413 | SW
7544 | 10822 | OA
2796 | 10350 | LN
2796 | 10350 | SW
2796 | 10349 | LN
2796 | 10349 | SW
9304 | 54085 | LN
9461 | 54086 | LN
9461 | 54086 | LE
9461 | 54086 | SW
9390 | 54087 | FG
9390 | 54087 | OA
9358 | 54089 | OA
9404 | 54090 | LN
9404 | 54090 | OA
9312 | 54091 | OA
9358 | 54092 | LN
9358 | 54092 | LE
9358 | 54092 | OA
8009 | 54096 | OA
9358 | 54097 | OA
9358 | 54100 | LE
9635 | 54561 | SW
10349 | 54114 | SW
10653 | 54640 | SW
17651 | 10761 | SW
10875 | 52010 | OA
11127 | 54041 | SW
11267 | 10802 | LN
11267 | 10802 | SW
11343 | 10439 | LN
11343 | 10439 | LE
11343 | 10439 | SW
11350 | 10440 | LN
11350 | 10440 | LE
11350 | 10440 | SW
11375 | 10441 | LN
11375 | 10441 | LE
11375 | 10441 | SW
11384 | 10442 | FG
11384 | 10442 | LN
11384 | 10442 | LE
11384 | 10442 | SW
11387 | 10443 | FG
11387 | 10443 | LN
11387 | 10443 | LE
11387 | 10443 | SW
6829 | 54034 | SW
19393 | 52007 | LN
19393 | 52007 | OA
12399 | 10062 | LE
12399 | 10062 | OA
12399 | 10062 | OT | Under Fire Air
12436 | 10328 | OA
13504 | 50271 | OA
13587 | 54149 | SW
14027 | 54627 | LE
14027 | 54627 | OA
16190 | 50406 | NR
14182 | 50744 | SW
6986 | 54590 | LE
6986 | 54590 | OA
14431 | 50555 | LN
14431 | 50555 | SW
14532 | 54424 | SW
14584 | 54056 | SW
14634 | 10099 | SW
9270 | 10522 | SW
19685 | 52012 | SW
21826 | 52013 | SW
15065 | 50884 | LE
19450 | 50150 | SW
19537 | 50118 | SW
1569 | 50170 | SW
19588 | 50431 | SW
3398 | 50202 | OT | Fly ash reinjection
19674 | 50120 | LE
19674 | 50120 | OA
19674 | 50120 | OT | Multicyclone
867 | 50216 | OT | Desulfurization of refinery waste gas
867 | 50216 | SW
20210 | 50405 | LN
20210 | 50405 | SW
21025 | 50611 | FG
21025 | 50611 | LN
21025 | 50611 | LE
21025 | 50611 | OA
21025 | 50611 | OT | Limestone Injection
20508 | 50900 | FG
20508 | 50900 | LN
20508 | 50900 | LE
20508 | 50900 | OA
20508 | 50900 | OT | Scrubbers
20541 | 10629 | OA
20541 | 50876 | SW
20541 | 50877 | LE
20541 | 50877 | OA
16729 | 54574 | LN
16839 | 54593 | SW
17999 | 10745 | LN
17999 | 10745 | SW
16993 | 10746 | LE
16993 | 10746 | OT | Staged Combustion Technique
18875 | 50296 | OA
14367 | 50560 | OA
14367 | 50560 | OT | Thermal DeNOx, Anhydrous Ammonia
14432 | 50776 | LE
14432 | 50776 | OT | NH3 Injection
20726 | 54638 | LN
20726 | 54638 | LE
20726 | 54638 | OA
14728 | 50051 | OA
14928 | 54236 | FG
14928 | 54236 | LN
15085 | 50739 | LE
15085 | 50739 | OA
19524 | 52073 | SW
15262 | 50637 | OA
15262 | 50639 | LE
15262 | 50639 | OA
15262 | 54061 | OA
15400 | 50463 | SW
15400 | 50464 | SW
20505 | 50465 | OA
15591 | 50221 | LN
15591 | 50221 | LE
15898 | 54291 | LN
15898 | 54291 | LE
16064 | 50028 | LN
16064 | 50028 | OA
16294 | 50396 | LE
16294 | 50396 | OA
16502 | 54253 | SW
16506 | 50865 | LN
16553 | 54271 | SW
19194 | 50651 | OA
5441 | 55750 | LN
16636 | 50864 | LN
16793 | 54634 | LN
16793 | 54634 | OA
16799 | 50062 | SW
16909 | 10725 | OT | Quiet Combustion
16909 | 10725 | SW
16929 | 50290 | OT | Suspension Burning, (GCP), (SNCR-Urea Injection)
17139 | 50304 | LE
17139 | 50304 | SW
11651 | 54912 | LE
11651 | 54912 | SW
20541 | 50298 | LN
20541 | 50298 | SW
38658 | 50299 | SW
26651 | 50300 | SW
17355 | 50558 | SW
17610 | 54004 | FG
17610 | 54004 | SW
13002 | 52193 | LN
13002 | 52193 | OA
12981 | 50973 | LN
12981 | 50973 | LE
27202 | 50803 | LE
27202 | 50803 | OA
18154 | 50813 | OA
18335 | 54476 | SW
18414 | 50835 | OA
24457 | 50292 | SW
18635 | 50481 | FG
18635 | 50481 | LN
18635 | 50481 | OA
30052 | 54637 | LN
13498 | 50137 | SW
18760 | 50229 | LN
19153 | 52056 | SW
19365 | 50483 | OA
19370 | 50730 | OA
30002 | 50398 | LN
30002 | 50398 | LE
30002 | 50398 | OA
7067 | 54318 | OA
7098 | 10029 | FG
7098 | 10029 | LN
7098 | 10029 | LE
7098 | 10029 | OA
7098 | 10029 | SW
7127 | 54104 | LN
7127 | 54104 | LE
7127 | 54104 | OA
7199 | 10113 | FG
7199 | 10113 | OA
3028 | 10034 | FG
3028 | 10034 | LN
3028 | 10034 | SW
15430 | 10033 | OA
7565 | 54134 | LN
8032 | 10373 | LN
8032 | 10373 | OA
8032 | 10373 | OT | Ammonia Injection for NOx
7879 | 10777 | OA
7879 | 10777 | OT | AMMONIA INJECTION
13632 | 10764 | OA
8106 | 50949 | SW
8568 | 50495 | SW
8687 | 52089 | FG
8687 | 52089 | LN
8687 | 52089 | LE
4856 | 10334 | OA
8819 | 10633 | FG
8819 | 10633 | LN
8819 | 10633 | LE
8819 | 10633 | OA
8819 | 10633 | SW
9243 | 50451 | SW
9244 | 50450 | SW
9245 | 50449 | LN
9245 | 50449 | SW
9256 | 50459 | SW
9261 | 54076 | SW
9263 | 50458 | LN
9263 | 50458 | SW
9302 | 10474 | OA
9308 | 10425 | LN
9308 | 10425 | OA
22091 | 10427 | SW
21970 | 10307 | SW
22290 | 10308 | SW
9434 | 54201 | OA
4592 | 10697 | SW
9628 | 10377 | OA
9686 | 54430 | LN
9686 | 54430 | OT | NOx Out System
30415 | 54789 | OA
17607 | 10618 | LN
20541 | 50878 | LE
20541 | 50878 | OA
20541 | 50880 | LE
20541 | 50880 | OA
20541 | 50881 | LE
20541 | 50881 | OA
20541 | 50881 | OT | Ammonia Injection
20541 | 50883 | LE
20541 | 50883 | OA
10203 | 10496 | SW
11132 | 10043 | LN
11132 | 10043 | LE
11132 | 10043 | OA
22737 | 54586 | LN
22737 | 54586 | SW
22312 | 10765 | LE
22312 | 10765 | OA
19194 | 50651 | LN
22312 | 10765 | OT | CIRCULATING FLUIDIZED BED
22312 | 10766 | LE
22312 | 10766 | OA
11169 | 54562 | OA
11169 | 54562 | SW
11237 | 10074 | LE
11237 | 10074 | OA
11216 | 10478 | OT | Ammonia
11216 | 10478 | SW
11216 | 10623 | OT | Ammonia
11216 | 10623 | SW
11217 | 10091 | SW
11217 | 10472 | FG
11217 | 10472 | LN
11217 | 10472 | LE
11389 | 10446 | LN
11389 | 10446 | LE
16024 | 54464 | OA
11459 | 54268 | LN
11459 | 54268 | SW
11724 | 10176 | SW
11741 | 10726 | SW
12150 | 50612 | SW
12228 | 10244 | FG
12228 | 10244 | LN
12258 | 10883 | LN
12258 | 10883 | OT | TIMING RETARD/DIESEL ENGINES REDUCED CHRG AIR TEMP
12300 | 50991 | SW
12313 | 10837 | LE
12313 | 10837 | OA
12449 | 10501 | SW
12687 | 52169 | SW
12736 | 50624 | SW
12736 | 50625 | LN
12736 | 50625 | LE
12736 | 50625 | OA
12736 | 50625 | SW
12736 | 50627 | SW
19685 | 50628 | LN
19685 | 50628 | OT | Urea Injection
5050 | 10850 | SW
21521 | 10416 | SW
12888 | 54625 | OA
13060 | 54626 | LE
13060 | 54626 | OT | Thermal Denox -SN CR using NH3 injection
26001 | 52118 | OA
26001 | 52118 | OT | UREA Injection
13365 | 54349 | SW
13399 | 54350 | SW
22939 | 10684 | LN
22939 | 10684 | LE
22939 | 10684 | OA
40052 | 10803 | SW
154 | 10670 | LN
154 | 10670 | LE
21 | 10671 | OT | Low combustion temperatures using CFB process
154 | 10673 | OA
154 | 10673 | OT | DeNox Equipment (NH3)
42 | 10675 | LE
42 | 10675 | OT | Staged Combustion, Low Combustion Temperature
154 | 10677 | SW
204 | 54429 | OA
349 | 10216 | OA
914 | 10568 | LN
914 | 10568 | SW
32384 | 10154 | SW
44466 | 52130 | LE
2443 | 52131 | LN
2443 | 52132 | LN
2443 | 52132 | SW
745 | 10810 | SW
745 | 10811 | SW
745 | 10812 | SW
772 | 10860 | FG
772 | 10864 | OT | Ammonia Injection
772 | 10866 | FG
772 | 10866 | LN
772 | 10866 | SW
772 | 54316 | SW
880 | 10601 | LE
2006 | 10805 | SW
1113 | 10650 | SW
1182 | 10319 | LE
1182 | 10319 | SW
1337 | 10294 | SW
24097 | 54415 | LE
24097 | 54415 | OA
1745 | 10869 | LN
1745 | 10869 | OA
2025 | 10596 | SW
2085 | 50404 | LN
2085 | 50404 | LE
2085 | 50404 | OA
2085 | 50404 | OT | Direct Ammonia Injection
2430 | 10683 | LN
6080 | 50736 | OA
6080 | 50736 | OT | Urea Injection
14249 | 54131 | SW
14306 | 50488 | LE
14306 | 50489 | OA
14306 | 50491 | FG
14306 | 50491 | LN
23013 | 50888 | OT | Ammonia Injection, Limestone Reaction,
24202 | 50978 | SW
14344 | 50049 | LE
14344 | 50049 | OA
3941 | 54081 | OA
3941 | 54081 | OT | Methane Denox
3942 | 10384 | OA
3998 | 10300 | OT | Ammonia Injection
4055 | 10682 | SW
4217 | 10784 | LN
4217 | 10784 | LE
4217 | 10784 | OA
18163 | 10234 | LE
18163 | 10477 | LN
4253 | 10870 | LN
4253 | 10870 | SW
19173 | 10003 | LN
19173 | 10003 | LE
19173 | 10003 | OA
4366 | 10635 | FG
4366 | 10635 | LN
4366 | 10635 | LE
4366 | 10635 | OT | Ammonia Injection
4366 | 10635 | SW
5011 | 10840 | FG
5011 | 10840 | LE
5011 | 10840 | OA
4732 | 54410 | SW
5338 | 52120 | FG
5342 | 50493 | SW
5347 | 52006 | FG
5347 | 52006 | LN
5347 | 52006 | OA
5347 | 52006 | SW
5533 | 10776 | SW
5543 | 10789 | SW
5543 | 10790 | SW
5966 | 10208 | LE
5966 | 10208 | OA
22652 | 52088 | SW
6068 | 10444 | LN
6068 | 10444 | LE
6091 | 10436 | SW
6091 | 10692 | SW
3084 | 10169 | SW
3062 | 52176 | SW
9358 | 54358 | LN
9358 | 54358 | LE
9358 | 54358 | OA
9210 | 54656 | LN
9210 | 54656 | LE
9210 | 54656 | OA
3303 | 10333 | LN
6541 | 10554 | LN
6541 | 10554 | SW
6564 | 54518 | SW
6577 | 10362 | LN
6577 | 10362 | LE
6577 | 10362 | OA
6659 | 10343 | LE
6659 | 10343 | OA
6659 | 10435 | OA
13572 | 10624 | SW
7042 | 10886 | SW
7043 | 54427 | LN
7043 | 54427 | OA
7043 | 54427 | SW
7067 | 54318 | LE
52 | 10002 | OT | Anhydrous ammonia injection
1337 | 10294 | CR
29925 | 10261 | LN
29925 | 10261 | SW
3084 | 10169 | CR
4435 | 50630 | OA
4435 | 50630 | OT | NOx control with Aquous Ammonia.
7 | 50903 | LN
20242 | 10701 | LN
17604 | 54533 | LN
17604 | 54533 | FG
12669 | 10549 | OT | Low Nox Lean Burn Engine (gas)
10996 | 55026 | LN
10996 | 55026 | CR
18996 | 55048 | LN
24097 | 54415 | NR
19363 | 50411 | SW
7191 | 55051 | SW
20085 | 50101 | FG
18535 | 55061 | LN
18535 | 55061 | SW
18611 | 55062 | LN
18611 | 55062 | SW
18593 | 54817 | CR
619 | 55031 | LN
619 | 55031 | CR
20978 | 54746 | CR
5473 | 54428 | OT | Packed Scrubber Tower Electrostatic Precipitators
22174 | 50279 | OA
1383 | 50849 | LN
1383 | 50849 | FG
4546 | 10404 |  | Burney Nozzle Retrofit
7804 | 54763 | LN
9284 | 10685 | CR
782 | 10787 |  | Fluidized Bed-Combustion
10875 | 52010 | OT | Carbon Injection
16002 | 10769 | CR
7475 | 10698 | FG
9591 | 54288 | LN
9591 | 54288 | OA
13911 | 50656 | OT | Thermal Denox (SNCR)
1653 | 10484 | LN
1653 | 10484 | FG
14173 | 54477 | CR
23931 | 50956 | LN
23931 | 50956 | FB
12228 | 10495 | CR
12228 | 10495 | FB
17607 | 10618 | SW
3085 | 10620 | LN
3085 | 10620 | SW
9989 | 54646 | SW
3398 | 10617 | LN
3398 | 10617 | SW
3759 | 10621 | LN
3759 | 10621 | SW
12469 | 10616 | SW
10197 | 50494 | SW
20541 | 50887 | LE
20541 | 50887 | OA
20541 | 54033 | LE
20541 | 54033 | OA
20617 | 50127 | SW
20961 | 10836 | FG
20961 | 10836 | LE
20961 | 10836 | OA
21128 | 50215 | LN
21128 | 50215 | LE
21128 | 50215 | OA
21159 | 50130 | LE
21421 | 50003 | SW
21468 | 50497 | SW
20085 | 50101 | LN
20085 | 50101 | OA
21498 | 52152 | LE
21498 | 52152 | OA
8009 | 52140 | OA
8009 | 52140 | OT | Low NOx Dampers
21621 | 54605 | SW
21734 | 50951 | LE
21734 | 50951 | OA
21857 | 52151 | LN
21857 | 52151 | LE
21857 | 52151 | OA
21857 | 52151 | OT | Tangentially Fired and Controlled Comb. Furnaces
21884 | 54608 | LN
21884 | 54608 | SW
14310 | 50397 | LN
14310 | 50397 | OA
22208 | 54372 | LN
22208 | 54372 | SW
5892 | 54571 | SW
5473 | 54428 | LN
5473 | 54428 | LE
5473 | 54428 | OA
16190 | 50406 | OA
16190 | 50438 | FG
16190 | 50438 | OA
16190 | 50447 | LN
16190 | 50447 | LE
16190 | 50447 | OA
22609 | 50168 | SW
22609 | 50169 | SW
22836 | 52154 | SW
38128 | 50119 | SW
38215 | 54451 | SW
34359 | 50969 | OA
9621 | 54692 | LN
9621 | 54692 | SW
24508 | 50109 | SW
24972 | 50243 | OA
24972 | 50243 | OT | Boiler Design
23815 | 50244 | OA
8009 | 50245 | FG
8009 | 50245 | LN
8009 | 50245 | OA
8009 | 50245 | SW
5267 | 50249 | LE
5267 | 50249 | OA
24972 | 50250 | FG
24972 | 50250 | LN
24972 | 50250 | LE
24972 | 50250 | OA
9358 | 50251 | FG
9358 | 50251 | LN
9358 | 50251 | OA
9358 | 50252 | LE
9358 | 50252 | OA
54 | 50253 | FG
54 | 50253 | LN
54 | 50253 | OA
25000 | 50024 | SW
6440 | 50530 | FG
6440 | 50530 | LN
6440 | 50530 | SW
15114 | 50002 | SW
27769 | 51030 | SW
27770 | 54324 | SW
16899 | 50837 | OA
16899 | 50837 | OT | selective non-catalytic reduction
18693 | 50751 | SW
127 | 50752 | SW
30897 | 50745 | SW
30897 | 50746 | SW
6529 | 50270 | LN
6529 | 50270 | SW
34012 | 50074 | SW
42892 | 50886 | LN
42892 | 50886 | LE
42892 | 50886 | OA
43164 | 50846 | LE
22939 | 10684 | OT | Urea injection
13737 | 10354 | LE
13737 | 10354 | OA
13737 | 10354 | OT | Stabilized urea-based solution injection
13752 | 10356 | LE
13752 | 10356 | OA
13752 | 10356 | OT | Stabilized urea-based solution injection
1354 | 50748 | SW
2794 | 50797 | SW
14252 | 50043 | SW
14254 | 50471 | SW
5065 | 50475 | SW
4435 | 10013 | OA
4435 | 10013 | OT | Thermal DeNox ammonia injection/Carbon Injection
13543 | 50657 | OA
42093 | 50662 | OA
10666 | 50859 | OA
10666 | 50859 | OT | Ammonia Injection
13898 | 54371 | LN
13898 | 54371 | SW
14220 | 54676 | LN
1928 | 10486 | LN
1928 | 10486 | OA
1926 | 10488 | FG
1926 | 10488 | LN
1926 | 10488 | OA
2565 | 10652 | LE
2565 | 10652 | OA
2565 | 10652 | OT | Ammonia Injection & underfire air
2904 | 10751 | SW
6322 | 10511 | FG
6322 | 10511 | OA
54 | 50253 | FB
18693 | 50751 | CR
18335 | 54476 | CR
9358 | 54088 | LN
9350 | 54099 | LN
9350 | 54099 | FG
9350 | 54099 | OA
17651 | 10761 | CR
20190 | 50933 | LN
20190 | 50933 | FG
7042 | 10886 | LN
3457 | 52109 | OT | Ammonia Injection
9390 | 54087 | LN
9390 | 54087 | LE
7067 | 54318 | LN
7067 | 54318 | FG
12436 | 10328 | FB
40052 | 10803 | CR
18693 | 50751 | OT | Ammonia Injection
2724 | 54559 | CR
17445 | 50071 | LE
21521 | 10416 | LN
30897 | 50746 | OT | Catalytic conversion
7097 | 50358 | OA
1735 | 54304 | CR
14634 | 10099 | CR
5342 | 50493 | CR
10197 | 50494 | CR
8568 | 50495 | CR
6091 | 10692 | LN
13833 | 50039 | LE
13833 | 50039 | OA
3103 | 10729 | LN
470 | 50472 | NR
470 | 50472 | OT | Urea Injection
1950 | 50650 | OA
9312 | 54091 | LN
6659 | 10342 | LN
7085 | 10111 | OT | Circulating Fluidized Bed Boiler
18163 | 54885 | LN
12469 | 10616 | LN
1569 | 52096 | CR
12949 | 10743 | OT | CFB Boilers
4732 | 54410 | CR
11349 | 55011 | LN
11349 | 55011 | CR
2794 | 50797 | CR
29959 | 54537 | CR
20508 | 50282 | NR
38128 | 50119 | CR
20505 | 50192 | LE
20505 | 50188 | LE
22199 | 50392 | OA
22199 | 50392 | OT | 20% slip stream bag house
20505 | 50188 | OA
19685 | 50628 | SW
12736 | 50625 | CR
1807 | 55021 | OA
1807 | 55021 | OT | Low Combustion Temperature Cyclone
4494 | 10525 | OA
204 | 54429 | FG
16176 | 54416 | LN
16176 | 54416 | SW
16176 | 54416 | OT | Emulsified Fuel
20541 | 50879 | OT | CFB @ low temps, low NOX emissions are inherent
20541 | 50880 | NR
20541 | 50880 | OT | Carbon Injection for Mercury Control
20541 | 50883 | OT | SNCR-Planned
19541 | 54276 | OT | Circulating Fluidized combustion
2226 | 10290 | LE
4546 | 10404 | OT | Burney Nozzle Retrofit
14023 | 50632 | NR
14023 | 50632 | OA
20508 | 50284 | OT | Pelletized Fuel
18020 | 50743 | LN
18020 | 50743 | LE
16001 | 52024 | OT
4966 | 55068 | LN
38658 | 50299 | LN
38658 | 50299 | CR
29780 | 54751 | OT | INJECTION UREA
21498 | 52152 | LN
21498 | 52152 | CR
21498 | 52152 | SW
2232 | 55042 | CR
3398 | 10617 | FG
3085 | 10620 | FG
3759 | 10621 | FG
14310 | 50397 | SW
2724 | 54559 | LN
4222 | 54556 | FG
4222 | 54556 | LN
4222 | 54556 | LE
3030 | 10168 | SW
3432 | 10243 | SW
3452 | 10213 | SW
29829 | 52106 | LN
22491 | 52107 | SW
3457 | 52109 | SW
3852 | 50131 | SW
3898 | 10378 | OA
3898 | 10379 | OA
10273 | 50410 | OT | Circulating Fluidized combustion
17610 | 54004 | OT | Circulating Fluidized Bed Combuster
4464 | 55084 | LN
4464 | 55084 | CR
26882 | 54639 | LN
26882 | 54639 | LE
26882 | 54639 | FG
6986 | 54590 | NR
3775 | 10741 | LN
3775 | 10741 | SW
3838 | 55101 | LN
3838 | 55102 | SW
7667 | 55086 | LN
4945 | 55088 | LN
16668 | 55104 | LN
16668 | 55104 | CR
6519 | 55098 | LN
31441 | 55103 | CR
16387 | 55100 | LN
16387 | 55100 | CR
772 | 10865 | NR
772 | 10865 | OT | Fluidized bed combustion w/limestone
5310 | 52019 | CR
2796 | 10349 | CR
1569 | 50170 | CR
25104 | 55065 | LN
11068 | 10400 | OT | F ESOP Limits fuel burned to 4000 mm SCF per year
8927 | 54707 | SW
12873 | 54708 | FG
12873 | 54708 | SW
17022 | 54730 | SW
15112 | 54803 | CR
15112 | 54803 | FG
18760 | 50229 | SW
18996 | 55048 | CR
4129 | 54144 | LE
4129 | 54144 | FB
20366 | 54755 | NR
28764 | 55075 | LN
28764 | 55075 | SW
27371 | 55087 | CR
1762 | 10464 | FB
38658 | 50299 | FG
867 | 50216 | CR
3941 | 54081 | CR
3941 | 54081 | FG
7199 | 10113 | FB
17139 | 50304 | LN
22491 | 52107 | CR
7 | 10867 | OT | Fluidized Bed
3652 | 55043 | LN
1653 | 10484 | OA
3652 | 55043 | CR
30968 | 55089 | LN
31441 | 55103 | LN
2232 | 55042 | LN
12501 | 55091 | LN
12501 | 55091 | CR
13213 | 55080 | LN
22843 | 50960 | NR
13982 | 50663 | OA
542 | 10643 | NR
22093 | 55041 | LN
22093 | 55041 | CR
22093 | 55041 | SW
11386 | 10823 | OT | Burner angle retarded @ 4' to control NOx from DI
21159 | 50130 | LN
20508 | 50282 | LN
20508 | 50282 | LE
20508 | 50282 | OA
19524 | 52073 | CR
5338 | 52120 | LN
23013 | 50888 | FB
9358 | 10628 | LN
9358 | 10628 | OA
22326 | 50850 | CR
12564 | 55040 | LN
12564 | 55040 | CR
12564 | 55040 | SW
1182 | 10319 | CR
10203 | 10496 | LN
18390 | 50134 | LN
15343 | 55096 | LN
15343 | 55096 | FG
10213 | 876 | OT | Switch to PRB Coal
13399 | 54350 | CR
14519 | 50666 | NR
13365 | 54349 | NR
23102 | 54208 | LN
23102 | 54208 | FG
2522 | 50466 | LE
2522 | 50466 | OA
2522 | 50466 | OT | Scrubbers
16061 | 10768 | CR
16729 | 54574 | CR
7564 | 54785 | OA
7564 | 54785 | SW
9358 | 54089 | FG
29780 | 54751 | LE
29780 | 54751 | OA
2816 | 55047 | CR
4366 | 10635 | CR
4055 | 10682 | LN
3398 | 10617 | NR
17256 | 1589 | LN
17256 | 1589 | OA
17256 | 1588 | LN
17256 | 1588 | OA
5338 | 52120 | SW
15908 | 350 | LN
15908 | 350 | LE
15908 | 350 | CR
15908 | 350 | FG
15844 | 329 | LN
15844 | 329 | FG
15844 | 329 | SW
15850 | 8076 | CR
15850 | 8076 | OA
15836 | 331 | LE
15836 | 331 | OT | combustion
15830 | 345 | CR
15830 | 345 | OA
16028 | 55107 | LN
16028 | 55107 | CR
7495 | 55108 | LN
7495 | 55108 | CR
2822 | 55119 | SW
1357 | 55122 | CR
2877 | 55123 | LN
2877 | 55123 | CR
16447 | 55117 | LN
1357 | 55122 | LN
26223 | 55124 | LN
26223 | 55124 | CR
20433 | 50882 | NR
12399 | 10062 | NR
30146 | 55128 | LN
29941 | 55129 | LN
29941 | 55129 | CR
11289 | 55131 | LN
11289 | 55131 | CR
18518 | 55132 | LN
18518 | 55132 | SW
21517 | 55135 | LN
21517 | 55135 | SW
21335 | 260 | LN
21335 | 260 | CR
21335 | 260 | OA
14068 | 55137 | LN
14068 | 55137 | OT | Low NOx combustors
22448 | 55139 | LN
21333 | 259 | LN
21333 | 259 | LE
21333 | 259 | FG
21333 | 259 | OA
10647 | 55140 | LN
23588 | 55141 | LN
8155 | 55143 | LN
8155 | 55143 | CR
8155 | 55143 | SW
8272 | 55144 | LN
8272 | 55144 | CR
8272 | 55144 | SW
29833 | 55145 | LN
29833 | 55145 | SW
3903 | 55146 | LN
3903 | 55146 | CR
1692 | 6823 | LN
1692 | 6823 | CR
986 | 79 | FG
35475 | 55148 | LN
35475 | 55148 | SW
35475 | 55148 | OT | The Project is proposed to have either low NOx bur
1692 | 6639 | LN
1692 | 6639 | CR
1692 | 1381 | LN
1692 | 1382 | LN
1692 | 1382 | CR
18154 | 50806 | LN
22148 | 315 | LN
22148 | 315 | LE
22148 | 315 | CR
22148 | 315 | FG
22148 | 315 | OA
22148 | 315 | SW
22484 | 356 | LE
22484 | 356 | CR
22484 | 356 | FG
22484 | 356 | OA
23693 | 335 | LN
23693 | 335 | LE
23693 | 335 | FG
23693 | 335 | OA
26853 | 55151 | LN
26853 | 55151 | CR
22187 | 50030 | OT | Foster Wheeler CFB Technology
7698 | 55153 | LN
2981 | 55154 | CR
2313 | 54914 | OT | Co Catalyst
12303 | 52149 | LN
12303 | 52149 | LE
12303 | 52149 | SW
2789 | 55165 | LN
2267 | 55166 | LN
2267 | 55166 | SW
3842 | 55168 | LN
3842 | 55168 | CR
473 | 10642 | CR
473 | 10642 | OA
1402 | 10649 | SW
19664 | 54809 | LE
19664 | 54809 | LN
2387 | 55081 | SW
2783 | 55082 | LN
26651 | 50300 | CR
2400 | 55180 | OT | Advanced Dry Low NOx Combustor
29889 | 55179 | LN
3259 | 55173 | LN
3259 | 55173 | CR
25260 | 55175 | LN
9304 | 54085 | OA
29889 | 55179 | CR
29889 | 55179 | OT | Co Catalyst
24033 | 55178 | LN
24033 | 55178 | CR
29762 | 55176 | LN
1058 | 50200 | CR
21577 | 50373 | OT | Pilot oil combustion control
22214 | 55015 | LN
22214 | 55015 | SW
3030 | 10168 | LN
23106 | 3236 | LN
23106 | 3236 | CR
23106 | 1626 | LN
23106 | 1626 | LE
23106 | 1626 | NR
23106 | 1626 | OA
23106 | 1619 | LN
23106 | 1619 | LE
23106 | 1619 | FG
23106 | 1619 | OA
11288 | 55183 | LN
11288 | 55183 | CR
30900 | 55182 | LN
30900 | 55182 | CR
24901 | 55177 | CR
17483 | 55120 | LN
17483 | 55120 | CR
11344 | 55010 | LN
9358 | 54094 | LN
21410 | 55097 | LN
19724 | 52048 | LE
19724 | 52048 | OA
13491 | 54808 | LE
4210 | 55188 | LN
4210 | 55188 | CR
6815 | 55191 | SW
24540 | 55185 | SW
8286 | 10604 | OA
8286 | 10604 | OT | Wet Scrubbers
13886 | 55099 | CR
7013 | 55194 | LN
7013 | 55194 | OT | Low NOx Combustors
16049 | 55192 | LN
16049 | 55192 | SW
6820 | 330 | LN
6820 | 330 | LE
6820 | 330 | CR
6820 | 330 | FG
6820 | 330 | OA
1692 | 1383 | LN
11181 | 341 | SW
21330 | 55196 | SW
3903 | 55197 | LN
16124 | 55198 | LN
88 | 55170 | LN
88 | 55170 | CR
88 | 55170 | SW
14547 | 55205 | LN
4383 | 55206 | LN
4383 | 55206 | OT | Dry Low Nox
5891 | 55210 | LN
641 | 55211 | LN
656 | 55212 | LN
14298 | 55215 | LN
14298 | 55215 | OT | Dry Low Nox combustors for the combustion turbines
4093 | 55216 | LN
44134 | 55218 | LN
44134 | 55219 | LN
19365 | 50482 | LN
19365 | 50482 | LE
19365 | 50482 | OA
19365 | 50482 | SW
10388 | 55221 | LN
22371 | 55222 | LN
20165 | 55224 | SW
5282 | 55227 | SW
5282 | 55228 | SW
5282 | 55229 | SW
25259 | 55232 | SW
25259 | 55232 | OT | Dry low NOx Combustors
8027 | 55233 | SW
5411 | 55234 | SW
5411 | 55234 | OT | Dry low NOx Combusors
5423 | 55235 | OT | Dry low NOx Combustors
5440 | 55236 | SW
5440 | 55236 | OT | Dry low NOx Combustors
29945 | 55237 | SW
21463 | 1595 | LN
9224 | 55238 | OT | Dry Low Non Combustors
21461 | 1599 | LN
21461 | 1599 | FG
22131 | 55239 | LN
22131 | 55239 | CR
2843 | 55217 | LN
2843 | 55217 | CR
20336 | 55240 | LN
20336 | 55240 | CR
12739 | 55241 | LN
12739 | 55241 | CR
12739 | 55241 | SW
5733 | 55223 | CR
6763 | 55226 | LN
6763 | 55226 | CR
16633 | 55242 | LN
5359 | 55244 | LN
15642 | 55246 | LN
15642 | 55246 | CR
11282 | 55063 | LN
56 | 50805 | OA
5377 | 55247 | LN
5377 | 55247 | SW
5377 | 55248 | LN
5377 | 55248 | SW
10349 | 54114 | CR
325 | 54748 | CR
17164 | 50112 | NR
56 | 50805 | LE
27694 | 55250 | SW
7283 | 55251 | SW
5891 | 55252 | LN
5377 | 55254 | SW
32874 | 55256 | OT | Dry low Nox burners
22394 | 55258 | OT | Goalline Environ Technologies & SCONOx catalyst
20592 | 55259 | LN
20592 | 55259 | CR
15164 | 55261 | CR
15164 | 55262 | CR
15164 | 55263 | CR
15164 | 55264 | CR
10666 | 50859 | NR
11216 | 10623 | CR
11216 | 10478 | CR
17254 | 54547 | CR
9621 | 54692 | OT | Co Catalyst
11344 | 55010 | CR
11344 | 55010 | SW
10175 | 55266 | SW
31349 | 55267 | LN
31349 | 55267 | SW
4966 | 55068 | CR
3903 | 55269 | LN
10285 | 55270 | LN
10285 | 55270 | SW
31386 | 55271 | LN
31386 | 55271 | CR
31386 | 55271 | SW
31396 | 55111 | OT | DLN Gas Turbines
2311 | 52129 | OT | N2 injection into fuel for flame temp control
9404 | 54090 | LE
27009 | 55116 | LN
27009 | 55116 | SW
3790 | 55152 | OT | Proposals being submitted for 2002
16190 | 50406 | LN
16190 | 50406 | LE
10337 | 10405 | CR
12568 | 55126 | LN
12568 | 55126 | CR
12568 | 55126 | SW
11216 | 10884 | SW
18154 | 50807 | NR
18154 | 50807 | FG
34359 | 50969 | LN
5049 | 55029 | SW
3398 | 50202 | FB
7498 | 55275 | OT | Dry low NOx combustors
19220 | 55276 | OT | Dry low NOx combustors
10285 | 55277 | SW
29945 | 55279 | LN
29945 | 55279 | SW
5433 | 55282 | LN
5433 | 55282 | CR
29122 | 55299 | LN
29122 | 55299 | CR
43897 | 55285 | SW
1712 | 55284 | SW
6808 | 55283 | OT | Dry low NOX technology
22313 | 55286 | LN
22313 | 55286 | SW
29122 | 55292 | LN
29122 | 55292 | CR
29122 | 55293 | LN
29122 | 55293 | CR
29123 | 55294 | CR
29123 | 55294 | OT | Dry Low Nox combustion system
20882 | 55295 | LN
20882 | 55295 | CR
20882 | 55296 | LN
20882 | 55296 | SW
21579 | 55297 | CR
21579 | 55297 | OT | Dry Low NOx Combustors
16509 | 55298 | LN
16509 | 55298 | CR
2565 | 10652 | FG
16197 | 55109 | LN
16197 | 55109 | SW
12888 | 54625 | NR
4217 | 10784 | FB
21773 | 50931 | FB
22650 | 55112 | LN
22650 | 55112 | CR
13982 | 50663 | NR
23801 | 55164 | LN
10213 | 876 | OA
40052 | 10803 | LN
11282 | 55063 | CR
15065 | 50884 | NR
5576 | 54758 | NR
5576 | 54758 | OA
15988 | 55187 | LN
15988 | 55187 | CR
15400 | 50464 | CR
12320 | 52148 | LN
18452 | 54323 | CR
7698 | 55153 | OT | dry low NOx combustors for the combustion turbines
3842 | 55169 | LN
17555 | 55138 | LN
17555 | 55138 | CR
17555 | 55138 | SW
6659 | 10343 | FB
20541 | 10629 | NR
21421 | 50003 | CR
641 | 55211 | CR
656 | 55212 | CR
834 | 55255 | LN
834 | 55255 | OT | Dry low NOx combustors for the combustion turbines
11066 | 54768 | CR
12150 | 50612 | CR
44134 | 55218 | CR
44134 | 55220 | CR
5733 | 55223 | LN
4806 | 52026 | CR
619 | 55031 | SW
619 | 55031 | OT | Co Catalyst
12813 | 52147 | OT | Water Injection Unit 3 only
18041 | 981 | LN
18041 | 981 | CR
18041 | 981 | OA
23005 | 50750 | SW
491 | 54213 | OT | Electrostatic Precipitator
491 | 54214 | LN
2884 | 10641 | NR
2884 | 10641 | FB
24900 | 50371 | OT | Gases are scrubbed with anhydrous ammonia
14252 | 50043 | LN
21025 | 50611 | FB
13002 | 52193 | SW
6829 | 55127 | LN
2981 | 55154 | LN
5619 | 55199 | OT | Dry low NOx combustors
14547 | 55205 | CR
14177 | 2594 | LE
14177 | 2594 | FG
14177 | 2594 | OA
9304 | 54085 | OT | Electrostatic Precipitator
25 | 2527 | LE
25 | 2527 | OA
25 | 2527 | OT | Gas Reburn
13886 | 55099 | SW
27371 | 55087 | LN
13579 | 2554 | LN
13579 | 2554 | OA
12792 | 2625 | LN
12792 | 2625 | FG
12792 | 2625 | OA
9341 | 50538 | SW
12631 | 228 | LN
12631 | 228 | LE
12631 | 228 | FG
12631 | 228 | OA
12631 | 271 | LN
12631 | 271 | LE
12631 | 271 | FG
12631 | 271 | OA
12622 | 273 | LN
12622 | 273 | LE
12622 | 273 | FG
12622 | 273 | OA
22187 | 50030 | FB
22187 | 50030 | OA
9308 | 10425 | FG
12258 | 10883 | CR
16011 | 54529 | LN
22146 | 2526 | OA
10001 | 10626 | LN
22129 | 6082 | LN
22129 | 6082 | LE
22129 | 6082 | CR
21336 | 6211 | SW
19370 | 50733 | LN
19370 | 50733 | LE
3106 | 10855 | FG
6667 | 54918 | SW
26561 | 55300 | LN
26561 | 55300 | OT | Dry Low NOx
33205 | 55301 | LN
22294 | 55303 | LN
2671 | 55304 | SW
3737 | 55305 | LN
3737 | 55305 | CR
14412 | 55306 | LN
14412 | 55306 | CR
991 | 55308 | LN
991 | 55309 | LN
991 | 55309 | CR
15491 | 55310 | LN
15491 | 55310 | CR
1182 | 55311 | LN
23913 | 55064 | LN
23913 | 55064 | CR
26469 | 55313 | LN
21410 | 55314 | LN
21410 | 55314 | CR
21668 | 55320 | CR
35402 | 55322 | LN
35402 | 55322 | CR
20372 | 55325 | LN
20372 | 55325 | CR
28297 | 544 | LE
28297 | 544 | OA
15864 | 2385 | SW
15864 | 2385 | OT | Annual Fuel Usage Limitation
34026 | 50799 | LN
34026 | 50799 | SW
16615 | 310 | LE
16615 | 310 | CR
16615 | 310 | FG
16615 | 310 | OA
15864 | 2393 | LN
15864 | 2393 | SW
17257 | 8227 | LN
17257 | 8227 | OT | Annual Fuel Usage Limitation
31041 | 55110 | OT | dln gas turbines
12490 | 562 | LN
12490 | 562 | NR
12490 | 562 | OA
12490 | 562 | SW
40180 | 548 | LE
40180 | 548 | NR
17257 | 2390 | OT | Annual Fuel Usuage Limitation and Operating Hours
20884 | 568 | LN
20884 | 568 | LE
20884 | 568 | OA
22125 | 2535 | LN
22125 | 2535 | LE
22125 | 2535 | CR
22125 | 2535 | OA
22125 | 2535 | OT | FGD wet Scrubber
12792 | 2629 | LN
12792 | 2629 | LE
12792 | 2629 | OA
20884 | 6156 | LE
20884 | 6156 | FG
20884 | 6156 | OA
11724 | 10176 | CR
20336 | 55240 | SW
22001 | 3152 | LN
22001 | 3152 | LE
17235 | 3109 | OT | Annual Fuel Usage Limitation Annual Oper hrs Limit
17282 | 3110 | OT | Annual Fuel usage Limitation Annual Oper hrs Limit
17282 | 3111 | OT | Annual Fuel Usage Limitation Annual Oper hrs Limit
17235 | 3112 | OT | Annual Fuel Usage Limitation Annual Oper hrs Limit
17235 | 3114 | OT | Annual Operating hour limitation
17235 | 3115 | LN
17235 | 3115 | OA
17235 | 3115 | OT | Annual Operating Hrs Limitation Annual Nox Limitat
17235 | 3116 | OT | Annual Fuel Usage Limitation Annual Oper Hrs Limit
22380 | 546 | LE
22380 | 546 | OA
22380 | 546 | OT | Burners out of Service
17235 | 3120 | OT | Annual Operating hours limit
17282 | 3124 | OT | Hydro Electric Facility
17235 | 3130 | LN
17235 | 3130 | CR
17235 | 3130 | NR
17235 | 3130 | OT | Blas Firing annual NOx & VOC Emission Limitations
15298 | 2187 | LN
15298 | 2187 | OA
17235 | 3132 | OT | Bias Firing and Annual capacity factor
17235 | 3134 | OT | Annual Capacity Factor Limitation
29878 | 1613 | NR
22846 | 2490 | OT | Burners Out of Service
17235 | 3131 | LN
17235 | 3131 | OA
17235 | 3131 | OT | Annual Capacity Factor Limitation
9058 | 2549 | LN
9058 | 2549 | OT | Electrostatic Precipitators
27332 | 55243 | SW
4093 | 55216 | CR
22001 | 3152 | OA
17235 | 3113 | LN
17235 | 3113 | OA
17235 | 3113 | SW
17235 | 3113 | OT | Annual Fuel usage Limitation
17235 | 3136 | LN
17235 | 3136 | OA
17235 | 3136 | OT | Annual Capacity Factor Limitation
17235 | 3118 | LN
17235 | 3118 | OA
17235 | 3118 | OT | Annual Capacity Factor Limitation
39066 | 50153 | LN
7869 | 55328 | LN
7869 | 55328 | CR
7869 | 55328 | OT | Ammonia Injection
11182 | 55329 | LN
11182 | 55329 | CR
10931 | 55332 | LN
2805 | 55333 | LN
2805 | 55333 | CR
8722 | 55334 | LN
8722 | 55334 | CR
8722 | 55334 | SW
29123 | 55335 | LN
29123 | 55335 | CR
536 | 55337 | LN
536 | 55337 | CR
536 | 55337 | SW
44373 | 55338 | SW
17257 | 2390 | SW
15864 | 2393 | OT | Annual Fuel Limitations
17256 | 55317 | LN
17256 | 55317 | CR
17256 | 55317 | OA
21461 | 1599 | CR
5517 | 889 | OA
5517 | 889 | OT | Process Optimization
5517 | 891 | LN
5517 | 892 | OA
5517 | 892 | OT | Gas Reburn Process Otimization
5517 | 897 | LN
5517 | 897 | OA
12501 | 55091 | SW
5517 | 898 | OT | Process Optimization
5517 | 7760 | SW
5504 | 302 | LN
10023 | 2500 | LN
10023 | 2500 | LE
10023 | 2500 | OA
9323 | 55330 | OT | Dry Low-NOx combustors
7156 | 55340 | CR
29120 | 55327 | CR
7156 | 55341 | CR
18919 | 50095 | OT | Burner Adjustment and Maintenance
8153 | 52061 | LN
8153 | 52061 | LE
8153 | 52061 | SW
10576 | 55149 | LN
10576 | 55149 | CR
10576 | 55149 | SW
1652 | 55200 | SW
17729 | 10418 | LN
17729 | 10418 | OT | Ammonia Injections
10388 | 55221 | SW
35403 | 55343 | LN
35403 | 55343 | CR
4405 | 55358 | LN
4405 | 55358 | CR
14274 | 55345 | LN
2732 | 55346 | SW
5255 | 55347 | OT | Quiet Combustor
5255 | 55348 | OT | Quiet Combustor
5255 | 55349 | OT | Quiet Combustor
5255 | 55350 | OT | Quiet Combustor
18325 | 55351 | LN
18325 | 55351 | CR
923 | 55357 | CR
25266 | 55230 | LN
7127 | 10361 | FB
15298 | 6076 | LN
15298 | 6076 | OA
36737 | 50026 | SW
11904 | 55359 | LN
11904 | 55359 | CR
8020 | 55362 | LN
8020 | 55362 | CR
7375 | 54321 | LN
7375 | 54321 | LE
7375 | 54321 | FG
2816 | 55047 | LN
2816 | 55047 | SW
27371 | 55364 | LN
27371 | 55364 | CR
14940 | 55365 | OT | Dry Low NOx Combustors
8501 | 55366 | LN
8501 | 55366 | CR
7972 | 55369 | CR
7972 | 55369 | SW
5436 | 55371 | LN
32790 | 55372 | LN
32790 | 55372 | CR
31380 | 55373 | LN
31380 | 55373 | CR
26450 | 55374 | OT | Dry Low NOx burners
22979 | 55375 | LN
22979 | 55375 | CR
22979 | 55375 | SW
23279 | 55377 | SW
5405 | 55378 | LN
5405 | 55378 | CR
13802 | 55379 | LN
13802 | 55379 | CR
5507 | 55382 | LN
5507 | 55382 | CR
34153 | 55384 | LN
34153 | 55384 | SW
34153 | 55385 | SW
4028 | 55386 | LN
4028 | 55386 | CR
4028 | 55386 | SW
31322 | 55387 | LN
31322 | 55387 | CR
31288 | 55388 | LN
31288 | 55388 | CR
23142 | 55389 | LN
23142 | 55389 | CR
23142 | 55389 | SW
24121 | 55391 | LN
24121 | 55391 | SW
21191 | 55392 | LN
21191 | 55392 | SW
12384 | 879 | CR
12384 | 879 | OA
12384 | 883 | LN
12384 | 883 | OA
12384 | 867 | LN
12384 | 867 | OA
12384 | 884 | LN
12384 | 884 | OA
12384 | 886 | LN
12384 | 886 | OA
12384 | 874 | LN
12384 | 874 | OA
12384 | 384 | LN
2820 | 55393 | OT | Ammonia Injection
3559 | 55394 | SW
13187 | 55395 | LN
5445 | 55397 | CR
5445 | 55397 | OT | Dry low NOx Combustors
5409 | 55398 | SW
5409 | 55398 | OT | Dry low NOx Combustors
2816 | 55225 | LN
34164 | 55400 | LN
34164 | 55400 | CR
16214 | 55401 | LN
16214 | 55401 | CR
10578 | 55416 | OT | DryLowNOxforNaturalGasSteam&WaterInjectionLightOil
21454 | 55402 | LN
22252 | 55403 | LN
32173 | 55405 | LN
32173 | 55405 | CR
34028 | 55409 | SW
9136 | 55407 | CR
3046 | 55406 | SW
34028 | 55409 | LN
34028 | 55409 | OT | Dry low NOx combustors
24106 | 55410 | LN
24106 | 55410 | CR
24106 | 55410 | OT | Dry Low NOx Combustors
24106 | 55411 | LN
24106 | 55411 | CR
24106 | 55411 | OT | Dry Low NOx Combustors
24106 | 55412 | LN
24106 | 55412 | CR
24106 | 55412 | OT | Dry Low NOx Combustors
31798 | 55417 | LN
25258 | 55418 | LN
25258 | 55418 | CR
14612 | 55413 | SW
14612 | 55413 | OT | Dry Low NOx Combustors
40192 | 55414 | SW
40192 | 55414 | OT | Dry Low Nox Combustors
39125 | 55415 | SW
39125 | 55415 | OT | Dry Low NOx Combustors
29122 | 55464 | LN
29122 | 55464 | CR
29122 | 55465 | LN
29122 | 55465 | CR
17888 | 55466 | LN
17888 | 55466 | CR
3903 | 55467 | LN
3903 | 55467 | CR
5474 | 55468 | LN
5474 | 55468 | SW
10786 | 55469 | LN
10786 | 55469 | CR
2360 | 55470 | LN
2360 | 55470 | CR
11417 | 55423 | LN
11417 | 55423 | CR
5421 | 55424 | CR
5421 | 55424 | OT | Dry low NOx Combustors
880 | 10601 | OT | Urea injection
3330 | 55426 | LN
3330 | 55426 | CR
16008 | 55428 | CR
20744 | 55429 | LN
20744 | 55429 | FB
20744 | 55429 | FG
20744 | 55429 | OA
11461 | 55430 | LN
21733 | 55422 | LN
21733 | 55422 | SW
3842 | 55431 | LN
3842 | 55431 | CR
3842 | 55432 | LN
3842 | 55432 | CR
3842 | 55432 | SW
3842 | 55434 | LN
3842 | 55434 | CR
3842 | 55434 | SW
3842 | 55435 | LN
3842 | 55435 | CR
3842 | 55435 | SW
3842 | 55436 | LN
3842 | 55436 | CR
3842 | 55436 | SW
15493 | 55437 | SW
18569 | 55439 | LN
18569 | 55439 | CR
18569 | 55439 | SW
18835 | 55440 | LN
18835 | 55440 | CR
18835 | 55440 | SW
18555 | 55441 | LN
18555 | 55441 | CR
18555 | 55441 | SW
18844 | 55442 | LN
18844 | 55442 | CR
18844 | 55442 | SW
3903 | 55443 | LN
3903 | 55443 | CR
3903 | 55444 | LN
3903 | 55444 | CR
2253 | 55445 | LN
2253 | 55445 | CR
5450 | 55446 | LN
5450 | 55446 | CR
520 | 55447 | LN
10281 | 55448 | LN
10281 | 55448 | SW
923 | 55449 | CR
923 | 55450 | CR
11504 | 55451 | LN
11504 | 55451 | CR
5879 | 55452 | LN
5879 | 55452 | CR
6632 | 55453 | SW
20 | 55454 | LN
20 | 55454 | SW
15026 | 55455 | LN
15026 | 55455 | CR
16008 | 55456 | LN
16008 | 55456 | CR
5424 | 55457 | OT | Dry low NOx Cumbustors
498 | 55458 | LN
498 | 55458 | CR
498 | 55458 | SW
2838 | 55459 | LN
2838 | 55459 | CR
9271 | 55460 | CR
9271 | 55460 | OT | Dry Low NOx cumbustors
9240 | 55461 | CR
9240 | 55461 | OT | Dry Low NOx combustors
18870 | 55462 | LN
18870 | 55462 | CR
9325 | 55463 | LN
9325 | 55463 | CR
13575 | 55471 | SW
13575 | 55472 | SW
13575 | 55473 | SW
34026 | 50799 | CR
3209 | 54630 | LN
13575 | 55474 | SW
7192 | 55475 | LN
7192 | 55475 | CR
7109 | 55476 | LN
7109 | 55476 | CR
19545 | 55477 | LN
19545 | 55478 | LN
19545 | 55479 | LN
19545 | 55479 | CR
19545 | 55479 | OA
6801 | 55480 | LN
6801 | 55480 | OT | Dry Low NOx
12363 | 55481 | LN
12363 | 55481 | CR
7356 | 55482 | LN
7356 | 55482 | CR
5408 | 55483 | LN
5408 | 55483 | SW
19417 | 55485 | LN
19417 | 55485 | CR
20159 | 55486 | LN
20159 | 55486 | CR
6037 | 55487 | CR
6037 | 55487 | OT | CO Catalyst
22448 | 55139 | CR
16814 | 50974 | NR
194 | 10339 | OT | Cooper Clean Burn System
10118 | 55289 | NR
12339 | 10179 | LE
6687 | 55489 | LN
9562 | 55490 | LN
3723 | 55491 | LN
3903 | 55492 | LN
3903 | 55492 | CR
2295 | 55425 | LN
2295 | 55425 | CR
29120 | 55327 | OT | Low Nox Combustors
2400 | 55180 | LN
779 | 10053 | OA
12813 | 52147 | LN
17897 | 54262 | LN
10041 | 54999 | NR
3559 | 55394 | LN
1928 | 10486 | OT | Thermal DeNox
3593 | 55076 | FB
19541 | 54276 | FB
1950 | 50650 | LE
1950 | 50650 | OT | Precipitator cyclon separators
5624 | 10025 | FG
154 | 10676 | OA
23619 | 50722 | SW
11239 | 10149 | LN
11239 | 10149 | FG
11239 | 10149 | OA
16607 | 54216 | LN
16607 | 54216 | NR
24901 | 55177 | OT | Dry Low Nox Combustion
11216 | 10884 | LN
21667 | 50647 | NR
21667 | 50647 | OA
252 | 52071 | LN
252 | 52071 | OA
22337 | 52069 | LN
22337 | 52069 | FG
3790 | 55152 | FG
5255 | 55347 | OA
5255 | 55350 | LN
5255 | 55350 | LE
5255 | 55350 | SW
25983 | 50142 | OT | Peak Shaving
5914 | 8906 | LN
5914 | 8906 | LE
5914 | 8906 | FG
5914 | 8906 | OA
11263 | 10552 | OA
11263 | 10552 | SW
3106 | 10855 | OA
13060 | 54626 | FB
3457 | 52104 | SW
18693 | 52076 | SW
662 | 52095 | SW
662 | 52092 | LN
662 | 52094 | SW
15830 | 345 | LN
15830 | 345 | LE
15830 | 345 | FG
15844 | 329 | OT | Induced FGR (units 1&2 only)
15850 | 8076 | SW
15836 | 331 | LN
15836 | 331 | FG
29941 | 55129 | OT | Dry Low NOx
1415 | 55207 | SW
4425 | 50658 | OA
8106 | 50949 | OT | Dry low NOx
5670 | 10603 | OT | Baghouse
19450 | 50150 | LN
7156 | 55340 | LN
7156 | 55341 | LN
23013 | 50888 | OA
16885 | 55493 | LN
16885 | 55493 | CR
19220 | 55276 | LN
3643 | 52108 | SW
25725 | 54458 | CR
25725 | 54458 | OT | Lean Burn Technology
16694 | 54974 | CR
16732 | 10548 | SW
9297 | 50537 | SW
17897 | 54767 | CR
2387 | 55081 | LN
14254 | 50471 | LN
14254 | 50471 | LE
1402 | 10649 | CR
13193 | 55494 | CR
13193 | 55494 | SW
12218 | 55495 | LN
12218 | 55496 | LN
3537 | 55497 | LN
1113 | 10650 | CR
6497 | 55498 | LN
6497 | 55498 | CR
2811 | 55499 | LN
2811 | 55499 | CR
3566 | 55500 | LN
10362 | 55501 | LN
11181 | 341 | OT | currently studies are being performed to analyse n
14307 | 55502 | LN
14307 | 55502 | CR
15577 | 55503 | LN
15577 | 55503 | CR
19143 | 55504 | LN
19143 | 55504 | SW
19143 | 55505 | LN
19143 | 55505 | SW
11049 | 55506 | CR
7189 | 55507 | LN
7189 | 55507 | LE
7189 | 55507 | CR
2811 | 55508 | LN
2811 | 55508 | CR
2811 | 55509 | LN
2811 | 55509 | CR
2811 | 55510 | LN
2811 | 55510 | CR
2811 | 55511 | LN
2811 | 55511 | CR
2811 | 55512 | LN
2811 | 55512 | CR
18041 | 981 | OT | Neural network(antomated boiler controls w/feedbk)
2811 | 55513 | LN
2811 | 55513 | CR
12728 | 55514 | LN
12728 | 55514 | CR
12728 | 55514 | OT | Oxidation Catalyst
5396 | 55516 | LN
5396 | 55516 | CR
5396 | 55516 | SW
15476 | 55517 | CR
15476 | 55517 | SW
22174 | 50279 | LN
22174 | 50279 | LE
22174 | 50279 | FG
8654 | 55518 | LN
8654 | 55518 | CR
8273 | 55519 | LN
5267 | 50249 | LN
5267 | 50249 | FG
12676 | 55520 | LN
12676 | 55520 | CR
15329 | 55522 | LN
15329 | 55522 | SW
15465 | 55523 | LN
4188 | 55524 | LN
4188 | 55524 | CR
4188 | 55524 | SW
6570 | 55527 | LN
6570 | 55527 | NR
6570 | 55527 | FB
33205 | 55528 | LN
33205 | 55528 | CR
33205 | 55529 | LN
33205 | 55529 | CR
6059 | 55530 | LN
6059 | 55530 | SW
11165 | 55531 | SW
7673 | 55532 | LN
7673 | 55532 | SW
12529 | 55535 | CR
12529 | 55535 | SW
15162 | 55539 | CR
15162 | 55539 | SW
20700 | 55541 | CR
20700 | 55541 | SW
12300 | 50991 | LN
12300 | 50991 | FG
20700 | 55542 | CR
20700 | 55542 | SW
12543 | 55543 | SW
12543 | 55543 | OT | Dry Low Nox Combustors
14349 | 55544 | SW
8559 | 55545 | LN
18556 | 55547 | LN
18556 | 55547 | CR
18556 | 55547 | SW
14382 | 55548 | LN
14382 | 55548 | CR
14382 | 55548 | SW
14632 | 55550 | CR
14632 | 55550 | SW
744 | 55558 | CR
744 | 55558 | SW
14359 | 52207 | OT | Internal Combustion Engine configured asclean burn
14359 | 52204 | OT | Internal Combustion Engine config w/clean burn tec
14359 | 52205 | OT | Internal combustion engine configured as clean bur
44135 | 54327 | OT | Internal combustion engine configured as clean bur
3903 | 55197 | CR
14252 | 50043 | CR
7127 | 10605 | LN
7127 | 10605 | LE
7127 | 10605 | FG
7127 | 10605 | OA
3998 | 10300 | NR
3998 | 10300 | FB
3998 | 10300 | OA
7175 | 10031 | SW
7127 | 10612 | LN
7127 | 10612 | OA
7127 | 10612 | SW
7127 | 10606 | LN
7127 | 10606 | LE
7127 | 10606 | OA
19759 | 54293 | CR
19759 | 54293 | OT | Retard Injection Timing Dry Low NOx Combustor Turb
21508 | 50368 | LN
21508 | 50368 | LE
21508 | 50368 | OA
21508 | 50368 | OT | Low N Fuel
7165 | 52158 | FG
3305 | 10672 | NR
8633 | 50858 | NR
8633 | 50858 | OT | Spray Dryer Absorber Fabric Filter Baghouse
9304 | 54085 | FG
17256 | 1588 | CR
17256 | 1588 | SW
9637 | 54904 | OA
9637 | 54904 | SW
22146 | 2526 | LE
7127 | 50479 | LN
7127 | 50479 | FG
27321 | 55291 | LN
27321 | 55291 | CR
14274 | 55345 | CR
14274 | 55345 | FG
11262 | 10251 | CR
22652 | 52088 | CR
779 | 10053 | LE
3398 | 50202 | CR
3398 | 50202 | NR
12436 | 10328 | LN
1569 | 50622 | CR
1569 | 50622 | SW
21826 | 52013 | CR
20541 | 50887 | NR
3106 | 10855 | LE
19588 | 50431 | LN
22754 | 52082 | SW
27753 | 52083 | SW
7544 | 10822 | LE
13988 | 50649 | OT | Urea Injection
1692 | 6823 | OA
11267 | 10802 | FG
11267 | 10802 | OA
22394 | 55258 | LN
22394 | 55258 | FG
12631 | 228 | CR
1990 | 10835 | OT | Precipiton cyclone separation
2949 | 55600 | SW
12529 | 55606 | CR
12529 | 55606 | SW
5702 | 3122 | LN
5702 | 3122 | LE
5702 | 3122 | CR
5702 | 3122 | OA
17690 | 55612 | SW
4668 | 55613 | CR
4668 | 55613 | OT | Dry low Nox Combustors
4473 | 55614 | CR
4473 | 55614 | OT | Dry low NOx Combustors
6571 | 55615 | CR
6571 | 55615 | SW
6571 | 55616 | CR
6571 | 55616 | SW
14438 | 55620 | LN
14438 | 55620 | CR
14349 | 55622 | CR
14349 | 55622 | SW
5976 | 55623 | LN
5976 | 55623 | NR
5976 | 55623 | FB
15338 | 55624 | CR
15338 | 55624 | SW
14413 | 55625 | CR
14413 | 55625 | SW
14413 | 55626 | CR
14413 | 55626 | SW
14413 | 55627 | CR
14413 | 55627 | SW
7156 | 55628 | LN
7156 | 55628 | CR
7156 | 55629 | LN
7156 | 55629 | CR
19664 | 54809 | FG
46 | 55631 | LN
46 | 55631 | CR
7156 | 55632 | LN
7156 | 55632 | CR
5622 | 54587 | LN
5622 | 54587 | LE
5622 | 54587 | OA
7156 | 55633 | LN
7156 | 55633 | CR
11026 | 55634 | LN
11026 | 55634 | CR
10998 | 55635 | LN
10998 | 55635 | SW
60 | 55636 | LN
60 | 55636 | CR
60 | 55636 | SW
3903 | 55639 | LN
3903 | 55639 | CR
10707 | 55640 | CR
10707 | 55640 | SW
19084 | 3845 | LN
19084 | 3845 | LE
19084 | 3845 | OA
12628 | 1571 | LN
12628 | 1571 | LE
12628 | 1571 | OA
12653 | 1573 | LN
12653 | 1573 | OA
12588 | 3788 | LE
12588 | 3788 | OA
15832 | 55644 | LN
15832 | 55644 | CR
1877 | 55645 | OT | Dry Low NOx Combustors
21410 | 55646 | LN
21410 | 55646 | CR
19003 | 55648 | LN
19003 | 55648 | CR
7156 | 55649 | LN
15142 | 55650 | LN
15142 | 55650 | CR
6623 | 55652 | LN
6623 | 55652 | CR
6623 | 55652 | OT | Oxidation catalyst
14137 | 55651 | LN
10301 | 55653 | LN
10301 | 55653 | SW
23279 | 55654 | SW
23279 | 55654 | OT | limited hours of operation
20267 | 55655 | SW
23279 | 3178 | LN
23279 | 3178 | LE
23279 | 3178 | OA
23279 | 3181 | LN
23279 | 3181 | OA
23279 | 3179 | LN
23279 | 3179 | OA
23279 | 1570 | LN
23279 | 1570 | LE
23279 | 1570 | OA
14306 | 50491 | NR
14306 | 50491 | OA
17287 | 55641 | LN
2820 | 55642 | CR
2820 | 55642 | OT | Ammonia Injection
4188 | 55643 | LN
4188 | 55643 | CR
4188 | 55643 | SW
15790 | 55687 | LN
15790 | 55687 | CR
15790 | 55687 | SW
14207 | 3138 | LN
14207 | 3138 | OA
14207 | 2836 | LN
14207 | 2836 | NR
14207 | 8226 | LN
14207 | 8226 | CR
14207 | 8226 | OA
14207 | 8226 | OT | Electrostatic Precipitatior Scrubber Ammonia Injec
14207 | 3098 | LN
14207 | 3098 | NR
14207 | 3098 | OA
14207 | 3096 | CR
14207 | 3096 | SW
4161 | 1554 | LN
4161 | 1554 | CR
4161 | 602 | CR
4161 | 1552 | LN
4161 | 1552 | OA
15147 | 2398 | LN
15147 | 2398 | SW
15147 | 2406 | CR
15147 | 2406 | SW
15147 | 2408 | NR
15147 | 2408 | OT | AEFLGR
15147 | 2403 | LN
15147 | 2403 | NR
15147 | 2403 | OA
15147 | 2403 | SW
15147 | 2403 | OT | Amine-enhanced fuel lean gas reburn (AEFIGR) sys
15147 | 2399 | LN
15147 | 2399 | CR
15147 | 2399 | SW
15147 | 2401 | SW
15147 | 2400 | SW
15147 | 2404 | SW
4161 | 1553 | LN
4252 | 593 | LN
4252 | 593 | NR
4252 | 593 | FG
4252 | 593 | OA
4252 | 7153 | LN
4252 | 7153 | SW
2820 | 55656 | LN
2820 | 55656 | CR
2820 | 55656 | OT | Ammonia Injection
5976 | 55657 | LN
5976 | 55657 | NR
5976 | 55657 | FB
5976 | 55658 | LN
5976 | 55658 | NR
5976 | 55658 | FB
5976 | 55659 | LN
5976 | 55659 | NR
5976 | 55659 | FB
5468 | 55660 | CR
13538 | 55661 | LN
13538 | 55661 | CR
13538 | 55661 | SW
3571 | 55662 | LN
10913 | 55663 | LN
10913 | 55663 | CR
6041 | 55664 | LN
6041 | 55664 | CR
12736 | 50625 | FG
1041 | 54658 | CR
2790 | 55665 | LN
2790 | 55665 | CR
3560 | 55666 | LN
3560 | 55666 | SW
11275 | 55667 | CR
21260 | 54818 | OT | unsure of process at this time
12653 | 1572 | LN
12653 | 1572 | OA
15494 | 55668 | SW
5447 | 55669 | LN
5447 | 55669 | CR
3842 | 55670 | LN
15276 | 3148 | LN
15537 | 3140 | LN
7475 | 10698 | LN
2796 | 55404 | LN
22165 | 10638 | CR
15534 | 3149 | LN
15534 | 3149 | CR
15530 | 55671 | CR
15530 | 55671 | SW
5507 | 55672 | LN
5507 | 55672 | SW
3842 | 55673 | LN
10306 | 55674 | LN
10306 | 55674 | SW
4188 | 55675 | CR
4188 | 55675 | SW
10280 | 55695 | LN
257 | 55676 | LN
257 | 55676 | CR
257 | 55676 | SW
12453 | 55677 | LN
12453 | 55677 | SW
13633 | 55678 | LN
13633 | 55678 | CR
13633 | 55679 | LN
13633 | 55679 | CR
20325 | 55680 | CR
5478 | 55681 | LN
5478 | 55681 | CR
12218 | 55682 | LN
2307 | 54243 | OA
20467 | 55686 | LN
28705 | 55281 | OT | Dry Low Nox Combustion
4302 | 55688 | CR
4302 | 55688 | OT | Dry low Nox combustors
8218 | 55689 | LN
8218 | 55689 | CR
4175 | 55690 | LN
4175 | 55690 | CR
4175 | 55690 | SW
20351 | 55691 | LN
20351 | 55691 | CR
12736 | 50624 | LN
12736 | 50624 | LE
15881 | 55692 | LN
15881 | 55692 | CR
14403 | 55693 | LN
14403 | 55693 | CR
3549 | 55694 | LN
3549 | 55694 | CR
19316 | 55360 | LN
19316 | 55360 | LE
19316 | 55360 | CR
19316 | 55360 | OA
4188 | 55675 | LN
10280 | 55695 | SW
10227 | 55696 | LN
10227 | 55696 | SW
21216 | 50815 | LN
21216 | 50815 | CR
12705 | 55697 | LN
12705 | 55697 | CR
12705 | 55697 | SW
7724 | 55698 | CR
1268 | 55699 | LN
1268 | 55699 | CR
1268 | 55699 | SW
12169 | 55700 | LN
12169 | 55700 | CR
12169 | 55700 | OT | Oxidation catalyst
2963 | 55701 | CR
2963 | 55701 | OT | Dry low NOx combustors
12617 | 55702 | LN
12617 | 55702 | CR
20697 | 55703 | OT | GE 9/42 Dry Low NOx combustors
15033 | 55704 | CR
15033 | 55704 | SW
15400 | 50463 | LN
15400 | 50463 | LE
6033 | 55705 | LN
6033 | 55705 | CR
15849 | 55706 | LN
15849 | 55706 | CR
32487 | 55037 | LN
32487 | 55037 | SW
17479 | 54339 | CR
16625 | 50061 | SW
7427 | 55707 | CR
7427 | 55707 | OT | Dry low NOx Combustors
16510 | 55708 | LN
16510 | 55708 | CR
949 | 55709 | LN
949 | 55709 | CR
23279 | 55710 | LN
23279 | 55710 | CR
23279 | 55711 | LN
23279 | 55711 | CR
4546 | 10404 | LN
5948 | 55712 | SW
5948 | 55712 | OT | Low Nox emitting combustor gas turbine
15501 | 55713 | CR
15501 | 55713 | SW
8856 | 55714 | LN
8856 | 55714 | CR
8856 | 55714 | OT | Oxidation Catalyst
18958 | 55715 | LN
17042 | 55716 | LN
17129 | 55717 | LN
17129 | 55717 | CR
17129 | 55717 | OT | Good combustion techniques
5528 | 55718 | LN
13894 | 55721 | CR
13894 | 55721 | SW
5886 | 55722 | LN
5886 | 55722 | CR
5886 | 55723 | LN
5886 | 55723 | CR
5886 | 55724 | LN
5886 | 55724 | CR
5888 | 55725 | LN
18049 | 55726 | LN
4300 | 55727 | CR
4300 | 55727 | OT | Dry low Nox Combustors
6767 | 55728 | CR
6767 | 55728 | OT | Dry Low Nox combustors
8329 | 55729 | LN
8329 | 55729 | CR
10289 | 55730 | LN
10289 | 55730 | SW
15851 | 55731 | LN
15851 | 55731 | CR
14167 | 55732 | SW
15181 | 55733 | LN
15181 | 55733 | SW
16885 | 55735 | LN
16885 | 55735 | CR
5428 | 55736 | LN
5428 | 55736 | CR
26001 | 55737 | LN
23279 | 55738 | SW
21060 | 55743 | LN
21060 | 55743 | CR
13413 | 55744 | LN
13413 | 55744 | CR
13413 | 55744 | OT | low Nox combustors
6414 | 55745 | LN
6414 | 55745 | CR
5437 | 55746 | LN
5437 | 55746 | CR
5437 | 55746 | SW
2796 | 55748 | LN
2796 | 55748 | CR
2796 | 55748 | SW
5441 | 55750 | CR
5439 | 55751 | LN
5439 | 55751 | CR
3546 | 55755 | LN
3546 | 55755 | OT | Water injection (winter operation on oil only)
12435 | 4146 | LN
16031 | 334 | LE
13069 | 358 | LE
13069 | 358 | CR
13069 | 358 | FG
18429 | 3920 | FB
18429 | 3920 | OA
520 | 55438 | LN
10337 | 10405 | FG
986 | 79 | LN
1351 | 55433 | LN